## Slide 1: Calibration

## Slide 2: Tracked Pointers
http://www.ndigital.com/medical/polarisfamily-accessories.php

## Slide 4: Frames in Computer-Aided Surgery
{C}
{P}
{T}

## Slide 5: Calibrating a Tracked Pointer
{P}
{T}
{M}
tp ?
M

## Slide 6: Pivot Calibration
constraint: pivot about a fixed point
pc

## Slide 7: Pivot Calibration
pc

## Slide 8: Pivot Calibration

## Slide 9: Calibration By Sphere Fitting
when pivoting about a fixed point the path of each marker lies on the surface of a sphere
pc

## Slide 10: Circle Fitting: Algebraic Fitting
for circle fitting we wish to find the location of the center of the circle (a, b) and the circle radius R
the “obvious” approach is to minimize
the standard approach is to differentiate F with respect to a, b, and R, set the partial derivatives to zero, and then solve the resulting system of equations
  unfortunately, the partial derivatives are non-linear

## Slide 11: Circle Fitting: Algebraic Fitting
instead use a change of variables to obtain
it is easy to show that the partial derivatives are linear in B, C, and D
this approach is known as the Kåsa fit

## Slide 12: Circle Fitting: Algebraic Fitting
unfortunately the Kåsa fit is poor when the measured points come from a small arc of the circle

## Slide 13: Circle Fitting: Geometric Fitting
notice that the objective function minimized in the algebraic fit is not the true distance between each data point and the circle
R
(a,b)
(xi, yi)

## Slide 14: Circle Fitting: Geometric Fitting
the geometric fitting algorithms attempt to minimize the sum of orthogonal distances to the circle
there appears to be no non-iterative solution to this problem so standard numerical minimization techniques are used
  steepest descent
  Gauss-Newton
  Levenberg-Marquardt