## Slide 1: Shape-based Registration

## Slide 3
find rotation and translation that best matches (registers) the points to the surface
batch process
  how many points?
  where are the best points?
  how do you improve a registration?
  how good is the registration?
model
registered
patient points
Pn = {pi=1..n}
{L}
{R}

## Slide 4: Relationship to Absolute Orientation
notice that the shape registration problem is similar to the absolute orientation problem
  the important difference is that we do not know the point correspondences
    i.e., we do not know which surface point xi corresponds to registration point pi
if we did know the correspondences then the problem is solved; just use any solution to the absolute orientation problem

## Slide 5: ICP Algorithm
iterated closest point algorithm
  Besl and McKay. IEEE Transactions on Pattern Analysis and Machine Intelligence, vol. 14, no. 2, Feb 1992.
  solves for the rotation and translation that best aligns a set of points to a surface
    surface can have any representation that allows for a point-to-surface distance computation

## Slide 6: ICP Algorithm
Find an initial guess for the rotation R and translation d.
Apply R and d to P to obtain Q0 = {q1, ..., qn}
For k = 1, 2, ....
  Find the points on the surface Yk = {y1, ..., yn} closest to Qk-1.
  Use Horn's method to match P to Yk; this yields the new estimate for R and d.
  Apply R and d to P to obtain Qk = {q1, ..., qn}
  Compute the mean squared error
Until for some threshold value

## Slide 7: ICP Algorithm
Find an initial guess for the rotation R and translation d.
Apply R and d to P to obtain Q0 = {q1, ..., qn}
For k = 1, 2, ....
  Find the points on the surface Yk = {y1, ..., yn} closest to Qk-1.
  Use Horn's method to match P to Yk; this yields the new estimate for R and d.
  Apply R and d to P to obtain Qk = {q1, ..., qn}
  Compute the mean squared error
Until for some threshold value

## Slide 8: Computational Complexity
for each iteration of ICP
  compute set of closest points O(npnx)
  compute registration using Horn's method O(np)
  apply registration O(np)
overall O(npnx)

## Slide 9: Accelerating Closest Point Search
common method for accelerating closest point search is to use a kd-tree
  k is the dimension of the data
  Jon Bentley. Communications of the ACM, 18(9), 1975.
supports O(log n) nearest neighbor queries if data is uniformly distributed

## Slide 10: kd-tree
binary tree where every non-leaf node can be thought of as being on an axis aligned hyperplane that splits the hypervolume of space into two parts (called subspaces or cells)
  points on the "left" side of the hyperplane are held in the left subtree of the node, and points on the "right" side of the hyperplane are held in the right subtree of the node
requires a splitting rule to determine where to put the hyperplane

## Slide 11: kd-tree Example
http://en.wikipedia.org/wiki/Kd-tree

## Slide 12: Splitting Rules
standard split
  splitting dimension is chosen to be the one for which the data points have the maximum spread
  splitting value is the coordinate median
midpoint split
  splitting hyperplane passes through the center of the cell and bisecting the longest side of the cell
sliding midpoint split
  midpoint split attempted first; if there are no points on one side of the hyperplane then the hyperplane slides towards the data points until it reaches a data point

## Slide 13: Splitting Rules
S. Maneewongvatana and D. M. Mount, 4th Annual CGC Workshop on Comptutational Geometry, 1999.

## Slide 14: Nearest Neighbor Search
start at root node and descend recursively
when a leaf node is reached, save the node as the current best nearest neighbor (with distance r)
unwind the recursion, performing the following steps
  if the current node is closer than the current best then it becomes the current best (update r)
  check if points on the other side of the hyperplane might be closer than the current best
    if the hypersphere of radius r intersects the hyperplane then the other branch of the tree must be searched
    if there is no intersection then continue up the tree

## Slide 15: Search Animation
http://en.wikipedia.org/wiki/Kd-tree

## Slide 16: Problems with Local Minima
ICP is guaranteed to converge to a minimum in the mean-squared error
  there may be many local minima
  the global minimum may not be the true registration